Paper 3: EU Verified Record Set

# Introduction / Motivation

- Risk/Reliability-based design conceptual idea

  - Iterate to find a suitable median and dispersion for the fragility curve of your structure

- Determining the fragility parameters of your structure

  - In the most general sense, the structure is analysed using a set of records to determine its fragility parameters. These analyses can take the form of either an IDA or MSA (cloud analysis is also an option…)

    - IDA continuous scaling of a single set of records delivers a capacity distribution

    - MSA analyses a set of records at discrete intensity levels and fits a lognormal fragility curve that best matches the collapse ratios observed at each IML.

  - Advantage of IDA is that it usually uses a predefined set of ground motion records e.g. FEMA P695, and no record selection is required.

  - In contrast MSA through the conditional spectrum or GCIM selection methods utilises multiple sets of records that have been specifically selected so that they represent the expected hazard characteristics a site for a given intensity level.

- Modification of IDA fragility results to improve agreement with MSA

  - Although MSA with GCIM record selection is generally considered the gold-standard for seismic performance assessment, due to the complex nature of the record selection, seismic assessment guidelines such as FEMA-P695 have proposed the use of a single-set of preselected records within an IDA. The propose a spectral shape correction factor to adjust the median collapse capacity to account for this difference.

  - Include review of studies that have proposed different IDA correction methods including SAF-IDA from (Zhong et al. 2021)

  - Set up the need for our method  no special record selection. More efficient IM (AvgSA vs SA(T1)) used for the IDAs. Correction includes duration which is has been shown to be an important considering in determining the collapse capacity (Chandrohman et al. 2016, Otarola et al. 2021?)

  - The most used predefined record set is FEMA-P695 which primarily reflects ground-motions typical of California

  - Most of the correction factor studies have been carried out in the US context. Correction factors are naturally site-specific and depend strongly on the tectonic setting of the site. Europe has a large variation in tectonic settings (ASC, SSlab, Sinter, Volcanic, Vrancea, …)

- This study investigates the relationship between the fragility parameters of European steel concentrically braced frames determine from IDA using a pre-determined set of ground motions and the those determined through detailed site-specific seismic hazard assessment.

- The results of this study will have implications on the use of tools such as SPO-2-IDA or other design strength to collapse capacity models that are based on IDA.

# Site-Specific Correction Factor

- Form of the equation of the correction factor and how it is applied to the results of an IDA fragility to get a more realistic site specific one.

- Explain how the model was derived (methodological overview)

  - For a range of sites across Europe in a variety of tectonic settings compare the fragility parameters of several site-specific structures obtained from MSA-SS, MSA-FX, and IDA-FX.

  - Using statistical procedures to account for estimation uncertainty in the determination of the fragility parameters.

    - Explain the role of bootstrapping

    - Explain the concept of the Meta-Regression

- The remainder of this article details the development and validation of the model described above.

# Site Selection

# Case-study Structures

## Structural Typologies

- 3s, 5s, and maybe 7s structures

- Typical design features shown in a figure

## Design Methodology

- EC8 gen2 – irregularity (in vertical stiffness) allowed

- Summarise the algorithm heuristically + with a flow chart

- Provide additional details in an electronic supplement

## Summary of Designs

- Number of unique designs etc

- Figure of the crossed nature of the dataset

## Nonlinear Modelling

- Summary of the nonlinear modelling

- Examples of cyclic pushover analyses

  - Results of ductility, overstrength, usw.

# Fragility Analysis

## IDA-FX

IDA capacity is dependent on the choice of the collapse iml. Lower, average, upper

## MSA-FX

## MSA-SS

### Ground Motion Selection

#### Intensity Measures and Ground Motion Models

- AvgSA[0,3] used as the conditioning intensity measure

- Significant Duration, PGA, and SA(T1) over 20 periods also considered

#### Hazard Model

- ESHM20 simplified to the mean GMM branch.

- Disaggregation parameters

#### Selection Procedure

- GCIM

## Results

- Summary of the estimates of the fragility parameters obtained from the different analyses

# Statistical Analysis

## Estimation Uncertainty

- Bootstrapping

## Meta-analysis and Meta-regression

### Overview of Meta-Analyses (if not done in §2)

### Regression Covariates

## Results

- Summary of the most useful statistical comparisons that I did and interpretation of the results

# Model Validation

- Leave-One-Out Validation  how sensitive is the model to having each site left out of the fitting

- How large is the prediction interval for a new site  what effect does this have on the resulting collapse risk calculation

- Comparing the Joint theta / beta model with the individual models not considering the correlation of theta and beta.

# Discussion / Implications of this Work

What can people use this work for. What influence would it have on the development of Eurocodes, applications to IDAs in the future. SPO2IDA

Future work based on this

# Summary and Conclusions

# References